## Slide 1: Electronics for Nuclear Physics
김상열
노티스

## Slide 2
Why Electronics?
Detector + Electronics + Analysis = Physics
Detector + Electronics + = Development
+ Electronics + Analysis = Simulation
Detector + + Analysis = ????
* 매우 개인적인 의견임!!

## Slide 3
Some examples

## Slide 4
Electronics for Nuclear physics experiment
Detector
Preamp
+ other
Analog circuits
Digitizer
Data Acquisition
Trigger
+ DSP
Bias Voltage
Power Supply

## Slide 5
Frequently used example
50 ohm input impedance
Oscilloscope level trigger

## Slide 6
Signal from detector
PMT, SiPM… : gain ~ 10^6
-> ~ 10^10 electrons/MeV
= ~nC/MeV
Wire chamber, GEM… : gain ~ 10^2~3
-> ~ 10^6~7 electrons/MeV
= ~pC/MeV
Photodiode, Ion chamber… : gain ~ 1
-> ~ 10^3~5 electrons/MeV
= ~fC/MeV

## Slide 7
How to measure signal
Typical detector’s capacitance
= 10 ~ 1000 pF
and V = Q/C
~ nC/100 pF/MeV = 10 V/MeV
~ pC/100 pF/MeV = 10 mV/MeV
~ fC/10 pF/MeV = 100 uV/MeV

## Slide 8
What we measure actually?
When Idet(detector current) is very fast,
Isig = Qdet x exp(-t/T) where T = Cd x Rm = 100 pF x 10 Mohm
= ~ ms -> very long!

## Slide 9
Where it comes from?

## Slide 10
Bias voltage supplier should supply
If detector response time = ~ 10 ns
and count rate = ~ 100 kcps
PMT, SiPM… : nC/10 ns x 100 kcps/s
= 10 uA @ a few kV -> 1 mA @ kV
Wire chamber, GEM… : pC/10 ns x 100 kcps/s
= 1 uA @ kV(?)
Photodiode, Ion chamber… : fC/10 ns x 100 kcps/s
= ~1 nA @ a few ~ 100 V

## Slide 11
Preamplifier converts Idet to Voltage signal.

## Slide 12
Take a look at PMT oscilloscope shot again

## Slide 13
Opamp basics

## Slide 14
Current Sensitive Preamp

## Slide 15
Charge Sensitive Preamp

## Slide 16
Shaping Amplifier

## Slide 17
Discriminator
Leading edge discriminator
Constant fraction discriminator

## Slide 18
Analog to Digital Converter
Peak sensing ADC Charge sensing ADC
Flash ADC

## Slide 19
ADC sampling

## Slide 20
Time to Digital Converter
Direct counting
Resolution ~ 1 ns
Time stretching
Resolution ~ 10 ps

## Slide 21
Time to Digital Converter
Time interpolation
Resolution ~ 10 ps
Multi-hit TDC
Pulse shaping TDC : resolution ~ 10 ps, multi-hit

## Slide 22
Trigger

## Slide 23
Trigger by combination

## Slide 24
Data Acquisition
Standard DAQ

## Slide 25
Data Acquisition
Ethernet : 125 MB/s max, ~30 MB/s typically
USB : 500 MB/s max, ~100 MB/s typically
PCI : 63 GB/s max, ~??? typically

## Slide 26
Power Supply

## Slide 27
Example of electronics board